## topic
sortNum | direction | topic | content | payload in content | remarks
1 | report runtime data | md/dev/report/{deviceId} | { "op": "DEV_RT_REPORT", "seqNo": 5627, "deviceType": "AC_2530001N", "payload": "" } | { "timestamp": "1728528545742", "deviceInfo": { "deviceId": "178120883707921", "gatewaySn": "000000P0000000Q12359E511FF840000" }, "data": [{ "name": "power", "value": "1" }...] } | About data: see tab sheet [data list]
2 | report event data |  | { "op": "DEV_EVENT_REPORT", "seqNo": 5627, "deviceType": "AC_2530001N", "payload": "" } | { "timestamp": "1728528545742", "data": { "status": "1", "evtType": "EVENT", "evtCode": "EVT001", "deviceId": "178120883707921", "sn": "000000P0000000Q12359E511FF840000" } } | status: 1-online 0-offline A status field equal to 1 indicates that the device is online, while a status of 0 indicates that the device is offline.

## data list
field name | meaning | data type | value | R¦W
power | Whether the air conditioner is work. | string | 1: work,0: idle | RW
mode | The AC mode setting. | string | auto, cool, dry, heat, fan | RW
temperature | The AC temperature setting | string | range: 17～30 example: 26 | RW
indoor_temperature | The indoor temperature | string | example: 25.2 | R
eco | Eco setting | string | 1: open,0: close | RW
wind_speed | Wind speed setting | string | low, medium, high, auto | RW
wind_swing_lr | Wind swing direction left and right. | string | 1 the wind swap,0 the wind stop swap. | RW